[image: image1.wmf]m

g

[image: image20.wmf][image: image21.wmf]1

m

1

2

T

T

,

T

T

-

=

t

-

=

w

[image: image22.wmf]m

2

T

T

-

=

d

J. King Saud Univ., Vol. 15, Science (2), pp. 145-154, Riyadh (A.H. 1423/2003)

154
[image: image23.wmf][image: image24.png]TL (Intensity)

100

10

0.1

0.01

WWMWTTTT"T‘““"T*TTTW‘T‘ T"T‘T'TTTTT"‘"
' 1000 10000

0.1 1 10
Dose (Gy)

100



[image: image25.png]Intensity

Intensity

o S et e e e et
O
O
(g
N
<
AN
Q.
4]
Q.
o
n
O l
S
O‘ : - — - S—— 'l—‘——waw
40 80 120
The standard spectrum of pure CaF, 0 - Scale
N
00)
AN
AN
m
o
Q
o
n
3
o B ,,, ! .&hamh u.-&-.:a\--o‘ N Y o '
40 80 0-Scale 120

The standard spectrum of pure CaF, superimposed on the
spectrum of the natural sample



[image: image26.png]TL - Intensity (1 C)

10°x

0.6 }

04}

0.2

Test dose 5 Gy

Test dose 50 Gy

2.0

0.0

Test dose 50 Gy

—— O
80 100 240 320  a00 emP-C



A.M. Alsoraya
153
[image: image27.png](a») -
-

1000
100

(Or) 111

100 1000 10000

10

Y - Dose (Gy)



[image: image28.png]- e Smn. S AL Gl S AUR S ST SR GHE S

o e e e

Aysusjul 71

. e A GE G S A G e e a asw v S S

. A GE G S GE- Se- G g G S A —

SN G N AR g aun G ST - W . G Sy

Tm

Temperature



[image: image29.png]TLI %

100

80

60

""""'“"‘“wm..(f) SR O I ——

10 20 30 40 50 60

Time (Day)



[image: image30.wmf]1

m

1

2

T

T

,

T

T

-

=

t

-

=

w

Preliminary Investigations of Saudi Fluorite for …

Preliminary Investigations of Saudi Fluorite for

Radiation Dosimetry

A. M. Alsoraya

Department of Physics, College of Science, King Saud University,

P.O.Box 2455, Riyadh 11451, Saudi Arabia

(Received 21/7/1421 H; accepted for publication 4/1/1423 H)
Abstract: The general dosimetric properties of local natural CaF2 are investigated using the thermoluminescence technique. It shows very good dosimetric properties with low fading and linear dose response (4 x 10-2  -  104 Gy ). In addition to that, the trap parameters such as activation energy , kinetic order, sensitivity and fading  were undertaken to satisfy the feasibility of using the present sample as (- ray dosimeter.
Keywords: TLD, (- ray, Dosimetry, CaF2 .
Introduction
The thermoluminescence (Tl) properties of naturally occurring materials have been the subject of several experimental investigations [1-6]. In recent years CaF2  has been used extensively for thermoluminescence (Tl) dosimetry of ionizing radiation. Calcium fluoride, CaF2, is naturally present as the mineral fluorite. The TL sensitivity of natural calcium fluoride was attributed to the traces of unidentified impurities [7]. A wide variety of impurities was found to change from sample to another. In using Tl dosimeters one of the main difficulties arises in the evaluation of the time occurrence of an anomalous exposure superposed on a normal one. This problem has been studied using CaF2.  Also, the simultaneous estimation of dose and time elapsed since exposures are based upon variations in the behavior of peaks in the glow curve [8]. Thus, it is important to have  good knowledge of some of the kinetic parameters [9].

Fading is an important but often neglected factor in environmental radiation monitoring using Tl-detectors, although it is one of the major drawbacks of Tl-dosimetry. The fading effect has been thoroughly studied for different types of Tl-materials [10].

The aim of this work is to study the Tl-characteristics of natural CaF2  after thermal treatments and to evaluate its activation energy.

Based on these observations the widespread natural CaF can partially fulfill the requirements to be a good environmental monitoring dosimeters with the least cost. 

Experimental Procedure

In the present work, natural calcium fluoride samples of crystalline form and light blue type are investigated as Tl-phosphor. The calcium fluoride content in the sample was found to be 99% of the whole sample [11]. To gain a rough estimate of the impurities in the samples, X-ray analysis was undertaken using X-ray Diffractometer D500 (SIEMENS), Fig.1. The operating voltage is 40 kV and the corresponding current is 35 mA. The major trace elements found are Na, Fe, Si, and S. The more intense impurity lines seen in Fig.1 are attributed to ( Zn + Hg ) S . This result is obtained by means of a data acquisition  program designed with the diffractometer by SIEMENS company. 
[image: image31.wmf]m

2

T

T

-

=

d


Fig. 1. Sample spectrometry analysis by X-ray diffractometer (SIEMENS D500).

Heating was performed in a nitrogen atmosphere (600 Torr) and at a rate of 2.08 oCs-1. Powdered samples were used (not selected for any particular grain size) and placed in a stainless steel boat for heating.
The irradiation was performed using a  60Co gamma source delivering 1.97 Gys-1 . The dose rate at the center of the chamber was measured by ferrous sulphate dosimetry as per Quality Control Specification QC-16-3511 by NORDION INTERNATIONAL INC. Canada, Ontario. Accuracy of the estimated dose rate is ± 1.45 at the 95% confidence limits. For Tl measurements, the Harshaw 2080 Tl-reader was connected to a Pico-processor glow curve. An IBM personal computer equipped with a Harshaw system 2080/4000/SAAS TLD file Manager was used for processing and performing a complete analysis of Tl-glow curves. The maximum tray temperature was 400oC with a heating rate of 5oC /sec.
A relation between TL-Intensity (TLI) and the thermal treatment temperatures for CaF2 samples from 150 – 350 mg at a fixed dose of 100 Gy was undertaken. At least five samples have been treated for every specific temperature. From this relation, it is found that the TLI increases with thermal treatment temperature (300oC to 400oC). The Tl- sensitivity decreases gradually up to 600oC, beyond which a rapid decrease is observed. This decrease in sensitivity may be attributed to the partial change of the chemical compound from CaF2  to CaO2  which is not a TL-sensitive. Accordingly, the 400 0C is found to be the best thermal treatment temperature suitable to sensitize natural CaF2 . 

The study of the normalized  Tl – intensity as a function of sample weight showed no variation in TLI with weight in the range 20 – 50 mg  where  the maximum TLI was obtained.

To study fading effect, one of the irradiated samples (100Gy) was measured immediately after irradiation and considered a reference, other samples were stored in a dark place at room temperature for different length of time up to a maximum storage time of 60 days until evaluating their relevant TLI. 
Results and Discussion

The glow curve of the natural CaF2  powder has four peaks at 48, 90, 160  and 200 oC  as shown in Fig. 2. These peaks are sensitive to  gamma-radiation doses and the most sensitive is the dosimetric peak at 48oC. 

Fig. 2. Glow curve of CaF2  irradiated with different (-doses.

Figures 3 and 4 show the dose response curves of the sample which were annealed at 400oC for 30 min. and irradiated with different (-ray doses. It is clear from these figures that the linearity is indeed present up to nearly 104  Gy above which Tl saturation occurs. Fig.4 also shows that the most sensitive peak is that at 48 oC. Our present study also reveals that the best annealing course to perform a regeneration process for our sample to make it ready to be used again as a new dosimeter is 400 oC /20 min. Also, the relation between post-irradiation annealing time of samples and its TLI was studied at different temperature and doses. It is found that 40oC /5 min. is the best post-irradiation annealing course prior to Tl evaluation to eliminate the shallow traps error effect. The used oven is a TLD programmed annealing furnace from HARSHAW/FILTROL Company. 


Fig. 3. The total TLI response as afunction of the dose.


Fig. 4. The TLI response as a function of the dose for the different peaks appeared in the glow curve.

Figure 5 shows the  variation of total Tl fading of irradiated sample with the storage time in dark. The intensity follows a slow build up about 2 % from the beginning time of storage till 6 days after which signal fading starts attaining 92 % of the residual TL signal after 40 days of storage. The slow build up during the first 6 days may be due to the transfer of charge carriers between different traps after which the fading process exceeds this effect to reach the steady condition. It is well known that if the trapped electrons can pick up enough energy they are  re-excited back to the  conduction band. Also, the shallow traps are somewhat unstable even at ordinary room temperature [12,13].

To calculate the activation energy E from the Tl-glow curve, a very simple method was previously given [14,15], using the symmetry of the glow peak shown in Fig. 6. They  considered  that  the symmetry factors 
[image: image32.png]TL - Intensity (1 C)

10°x

0.6 }

04}

0.2

Test dose 5 Gy

Test dose 50 Gy

2.0

0.0

Test dose 100 Gy

—— O
80 100 240 320  a00 emP-C



 is not sensitive to changes in the activation energy E and frequency factor  s.The order of  the kinetics for each peak was estimated making use of the symmetry factor 
[image: image2.wmf]m

g

, which is equal to 
[image: image3.wmf]w

d

, where 
[image: image4.wmf]d

 is the half width at high temperature  and 
[image: image5.wmf]w

 is the total width of the glow peak. 
[image: image6.wmf]m

g

< 0.5 for first order kinetics and 
[image: image7.wmf]m

g



 EMBED Equation.3 [image: image8.wmf]³

 0.5 for second order kinetics. They applied this method on NaCl and KCl crystals using the following equations [15]: 
E1 = 
[image: image9.wmf])

98

.

2

1

(

KT

72

.

1

2

m

D

-

t

 ……………for the first order and 
E2 = 
[image: image10.wmf])

3

1

(

KT

2

2

m

D

-

t

 ………………..  for the second order. 

[image: image11.wmf]D

 is a correction factor which is equal to 
[image: image12.wmf]E

KT

2

m

, 

[image: image13.wmf]T

m

 is the maximum glow peak temperature, 
[image: image14.wmf]t

 is the full width at low temperature and K is the Boltzmann's constant in eV/ oK . Furthermore, the kinetic parameters of the CaF2  :Tm (TLD-300) dosimeter were determined experimentally using the same peak shape method taking into consideration that (g is not sensitive too to changes in E and S, [9]. The peak-shape methods used in this study were those of  reference 14 and 15 as described above where the activation energy has been carried out for the four peaks which appeared in the glow curve (Fig.2). To have a good resolved peak and hence good peak parameters one has to apply either a well designed mathematical program or the partial annealing method [9]. The criterion used in the second method involved beside the erase of the first peaks, eliminating their influence in the remaining peaks. In this work, we have applied a mathematical program along with the partial annealing method to ensure high confidence in the results. 


Fig. 5. TL - Fading of irradieted natural CaF2 with respect to the variation of storage time in dark.



Fig. 6.  An isolated glow peak with the parameters                                                 and                         where Tm is the temperature of the maximum and T1 and T2 are the low and high half-intensity temperatures respectively.

The calculated activation energy values using the above method are  given in Table 1. From this Table, one can observe that E >1.0  and    
[image: image15.wmf]m

g

< 0.5, which means that this sample is a good dosimeter and has first kinetic order. 
Table 1. The four peaks parameters of the CaF2  glow curve


Tm (K)
E1 (eV)
E2 (eV)

[image: image16.wmf]d



[image: image17.wmf]t



[image: image18.wmf]g

m



[image: image19.wmf]D



P1
321
1.04
1.18
9.01
2.90
0.41
0.048

P2
363
1.36
1.55
9.20
2.81
0.42
0.042

P3
433
1.35
1.53
14.43
8.11
0.44
0.048

P4
473
1.32
1.50
18.20
1.90
0.45
0.049

In general, the obtained values  of  activation  energies  proves  that the  effect  of  normal  climate  conditions  on  fading  effect  is  nearly negligible. In  other  words,  the  traps  are  deep  enough  to  result  in sufficient  stability  at  room  temperature  ( half-lives  of  the  trapped electrons of at least several months) which is of dosimeteric interest  [16].

Conclusion

Natural calcium fluoride is sensitive to (-radiation through a useful dose range (0.04-104 Gy). It can be sensitized by thermal treatment at 400oC for 30 min..For pre and post irradiation, the best course of thermal annealing was found to be 400oC / 20 min. and 40oC/5 min. respectively. Under normal environmental conditions, CaF2  Tl dosimeters suffer from 10% signal fading after two months (60 days) post irradiation storage. Furthermore, the results show that this type of samples is of the first order kinetics and has an activation energy more than 1.0 eV This result leads to a conclusion that the natural CaF2 phosphor is suitable for practical and environmental dosimetry. 
Acknowledgment. The author wishes to thank Prof.Dr. S.U. Elkameesy for his interest and encouragement. Also thanks are due to members of the nuclear physics group, Physics Dept., King Saud University, and in particular A. Yousif, Eng. A. Shalaby, Eng. N. Abdel-Wahed and A. Rizk for their help. 
References
[1]
Gomma, M.A. and Eid, A.M. “ Thermoluminescence of  Pyramid  Stones.”  Rad. Phys. Chem., 19, No. 3 (1982), 237-241. 
[2]
Eid, A.M., El-Gohary, M.I. and Kamal, S.M., “Effect of Heat Treatments  on Thermoluminescence of Naturally Occurring  Materials.” Rad.Phys. Chem., 26, No. 6 (1985), 663-667. 
[3]
El-Enany,N., El-Fiki, S.A., Abdel-Kariem, S., El-Kameesy, S.U. and Hafez, H.S. “ Studies on Tl-Properties and Kinetics of Natural Calcium Fluoride.” Isotope & Rad.,Res., 27, No. 1 (1995), 17-24. 
[4]
El-Enany N. “Thermoluminescence Characteristics of an Egyptian  Igneous Granite Rock Before and After Beta and Gamma Ray  Irradiation.” Isotope & Rad. Res., 27 (1995), 1-9. 
[5]
Becker, K. Solid State Dosimetry. Boca Raton: CRC Press, 1973. 
[6] 
McKeever, S.W.S. Thermoluminescence of  Solid. Cambridge Univ. Press, (1988), 231-234. 
[7] 
McMaster, D.W., Jassemnejad, B. and McKeever, S.W.S. “Some Observations Regarding  the Effects of  Background Rare Earth  Impurities on the  Thermoluminescence and Optical Absorption of CaF2-Mn.” J.Phys., D, Appl. Phys., 20 (1987), 1182-1190 . 
[8] 
Furelta, C., Tuyn, J.W.N., Louis, F., Azorin-Nieto, J., Gutierrez, A. and Driscoll, C.M., “A Method for Determining Simultaneously the Dose and  the Elapsed Time Since Irradiations using TLDs.” Int. J. Rad. Appl.  Instrum., [A], 39, No. 1 (1988), 59-69. 

[9] 
Azorine, J., Furetta, C. and Gutierrez, A. “Evaluation of the Kinetic Parameters of CaF2 : Tm (TLD-300) Thermoluminescence Dosimeters.” J. Phys., 22 (1989), 458-468.  
[10] 
Burgkhardt, B., Herrera, R. and Piesch, E. “The Effect of Post-irradiation Annealing on the Fading Characteristics of Different Thermo - Luminescence  Materials.” Nucl. Inst. Methods, 155 (1978), 293-298. 
[11] 
Laurent, D. “Industrial Minerals in Saudi Arabia.” Saudi Arabian Directorate General of Mineral Resources, Saudi Arabia, 1999. 
[12]
Fowler, J.F. and Attix,F.H., “Solid State Integrating Dosimeters.” In: Radiation Dosimetry, Vol. II, 2nd ed., Attix, F.H. and Roesh, W.C. (Eds.),  New York: Academic Press., 1966.  
[13] 
Knoll, G.F.  Radiation Detection and Measurement. New York: John Wiley & Sons Inc., 1979. 
[14] 
Azorin, J.N. Luminescence Dosimetry; Theory and Applications. Mexico: Primera Edition, 1990. 
[15]
Helprin, A. and Braner, A.A. “Evaluation of Thermal Activation  Energies from Glow Curves.” Phys. Rev., 117 (1960), 408-418. 
[16]
Horowitz, Y.S. Thermoluminescence and Thermoluminescent  Dosimetry. Vol. I-III, Florida: CRC Press Boca Raton, Florida, 1984.
دراسات أولية عن الفلورايت السعودي كمقياس للجرعات الإشعاعية
أحمد بن محمد السريع
قسم الفيزياء، كلية العلوم، جامعة الملك سعود، ص .ب  2455،
 الرياض 11451، المملكة العربية السعودية
(قدمّ للنشر 21/7/1421هـ؛ وقبل للنشر في 4/1/1423هـ)
ملخـص البحث. تمت دراسـة خـواص الوميض الحراري لعينات من فلوريد الكالسيوم الطبيعي المحلي قبل  تعرضها لسلسلة من الجرعات الإشعاعية وبعدها بواسطة مصدر كوبالت - 60 مع المعالجة الحرارية لها. 
وقد بيـنت الـدراسـة إمكانية اسـتخدام هذه العينات عمليا كمقياس للجرعات الإشعاعية في المدى 4 × 10-2 - 410 جراي. بالإضافة إلى ذلك تمت دراسة بعض البارامترات الأخرى مثل طاقة التنشيط ، الرتبة الحركية، الحساسية وتأثير الزمن على قدرتها في الاحتفاظ بالجرعة حتى يتم تحقيق الشـروط اللازمة لاسـتخدام العينات لقياس الجرعات الإشعاعية الناتجة عن إشعاعات جاما. 
� EMBED Equation.3 ���


� EMBED Equation.3  ���





� EMBED Equation.3  ���








145




_1082755060.unknown

_1082755319.unknown

_1082755444.unknown

_1082756071.unknown

_1082756169.unknown

_1082755456.unknown

_1082755423.unknown

_1082755069.unknown

_1082755089.unknown

_1082755066.unknown

_1082749931.unknown

_1082749941.unknown

_1082750267.unknown

_1082750276.unknown

_1082749948.unknown

_1082749934.unknown

_1082749923.unknown

_1082749927.unknown

_1053979838.unknown

_1082749916.unknown

_1053979832.unknown

_1053979826.unknown

