[image: image20.png]295283001
n] 3a33783923

170

270282774
vy

1862 28682419

510

s6tu

T1991—m)
Lomsveoast—a
02651758551 — -

"
CSREIPLLEL "M

=

Ve —w

Tssti—a

0zt —-

019 ———»
OB ————)
[

Tii6—m

102

10

sist

Sirr—e

2195

syoct

>¢
%

(.01%) runes Jo saqmay

2

2
3

T
=
(1) S1un0> o 13quiny.

0.0

50
2.

(01x) s1mmno3 Jo saquiny

0.0



J. King Saud Univ., Vol. 17, Science (2), pp. 71-79, Riyadh (1425H./2004)
78
M.S. Al-Ayed, et al.
73

Environmental Radiation Doses at 

King Saud University Campus

M.S. Al-Ayed, M.S. Garawi, S.S. Al-Ghamdi, 

A.M. Al-Soraya and S.U. El-Kameesy

Physics Department, College of Science, King Saud University

P.O. Box 2455, Riyadh 11451, Saudi Arabia
(Received 25-1-1423H; accepted for publication 8-8-1424H)

Abstract.  Measurement and analysis of gamma background radiation outside King Saud University buildings at the energy range 185 keV-3MeV using a hyper pure Ge-detector of active volume 156.6 cc were carried out.  The data is corrected for the detector efficiency dependence on gamma ray energies.  The absorbed dose for each gamma line was calculated and the total absorbed doses for the detected gamma lines were estimated.  Comparison with other results was also performed.

Introduction

The naturally occurring radioactive series are widely distributed in the earth crust and usually secular equilibrium between parent and daughters nuclides in a given decay chain exists.  Their decay products are the most important source of radiation exposure to the general public. The release of radioactive nuclides from both nuclear weapons testing and nuclear accidents has had severe effects in the nearby regions and has been the cause of public concern all over the world. Airborne radioactivity can deposit directly into the ground or be washed out by rain leading to the contamination of both vegetation and soil.  Furthermore, building materials, such as bricks and concrete, have a significant contribution to natural background radiation.  

To define pathways followed by radioactive nuclides in the ecosystem and assess their effect on human, many environmental and biological samples must be studied for the radioisotopes of interest.  Those decaying by the emission of gamma rays are the easiest to study.  Consequently, gamma ray background radiation in different countries has been previously studied by many authors [1-10]. 



It is believed necessary to study the nature of the gamma background radiation outside King Saud University building (in a wooden port-cabin situated in the courtyard). In addition to the environmental value of this study, the results obtained are essential in analyzing any data for possible future nuclear activity measurement . 


Experimental Procedure

The experimental arrangement consists of a liquid nitrogen cooled ORTEC p-type hyper pure germanium detector of active volume 156.6 cm3 with a photo-peak efficiency 
[image: image1.wmf]»

 38% relative to a 3in x 3in Nal(TI) detector and an energy resolution 
[image: image2.wmf]»

1.85keV at 1.33 MeV gamma line. The detector was coupled through an amplifier to an IBM-XT personal computer equipped with an Aptec MCA plug-in card.  


The  energy  calibration  of  the  spectrometer  was  performed  using  the  well-known  standard  sources  (22Na,   60Co,   88Y,  137Cs,  226Ra  and  241Am), to cover an energy range from 60 keV to 3 MeV.  In gamma-ray emission rate measurements by means of germanium spectrometers, the crucial quantity limiting the attainable accuracy is the detector efficiency.  Uncertainty due to counting statistics, peak evaluation and random coincidence summing corrections can be minimized by choosing appropriate measuring conditions and evaluation procedure [11].  Accordingly, the values of the source activities were chosen to give counting rate less than 1000 counts/sec. at a source to detector distance of 25 cm [12].


The relative photo-peak efficiency of the detector was measured using the well-known gamma-ray transitions in 22Na, 60Co, 88Y, 137Cs, 226Ra and 241Am.  It was then calculated, using the formula: 

                                            

[image: image3.wmf]iii

000

εAI

=

εAI



                                   (1)

Where 
[image: image4.wmf]0

e

is the efficiency of the detector at the energy Eo and is taken as unity, 
[image: image5.wmf]i

e

is the efficiency of the detector at the energy   Ei relative to that of Eo, Ao and Ai are the net photo-peak areas corresponding to the energies Eo and Ei respectively, 
[image: image6.wmf]o

I

 is the intensity of gamma transition of energy Eo (considered to be unity) and 
[image: image7.wmf]i

I

 is the intensity of the gamma transition of energy Ei.  The net photo-peak area was obtained in terms of the total number of counts above the background.  The total number of counts under each peak was found by using a least square fit of the data to a gaussian function.  The relative photo-peak efficiency-energy curve, obtained for each source used in this study overlaps with each of the other curves at certain energy.   These curves were normalized to each other to obtain the complete relative photo-peak efficiency of the detector as a function of energy. 


The detector efficiency at the 609.3 keV transition is taken to be unity. The absolute efficiency of the detector 
[image: image8.wmf]e

, as a function of energy was then calculated using the relation below for each gamma energy:


[image: image9.wmf]10

d

Ω

A=3.7×10×a×I××

ε

4

π

 

                      (2)

Where 
[image: image10.wmf]A

 is the net count rate; a is the activity of the source in 
[image: image11.wmf]Ci;I

 is the absolute intensity of the gamma transition and 
[image: image12.wmf]W

d

 is the solid angle increment.

The absolute efficiencies for the known energies were used to normalize the obtained relative efficiency-energy curve to yield the absolute efficiency-energy curve of the detector.

In background measurements, gamma rays impinge on the surface of the detector from different angles and hence it was necessary to find the detector efficiency dependence on the angle.  This dependency was studied by placing a 60Co source at different angles in the range of 0o to 180o from the detector window.  It was found that the detector efficiency decreases as the angle increases.  Since the angular distribution of gamma rays is random in background measurements, the average value of the efficiency dependence on the angle was taken as a good approximation [3].  The same procedure was done in this work and a correction factor of an average value of 0.92 is found.  Therefore, the absolute efficiency values were multiplied by this factor. 

Results and Discussion 
Measurements of the gamma background radiation in a wooden port-cabin (with an asphalt flooring) situated in King Saud University courtyard have been repeated several times during a period of three months.  The time of each measurement was 90 hours.  It was found that the fluctuations in the measurements do not exceed the inherent statistical fluctuation of the measurement itself.  An example of the measured spectra is shown in Fig. 1(a,b,c).


In these spectra, well-resolved gamma lines were observed.  The energy of each line as well as its respective intensity and its parent radioactive isotope are tabulated in Table 1.


Table 1 also includes the results of a previous study of background radiation measurement in the nuclear research laboratory, situated in the ground floor of the two-floor building in King Saud University [8].


The net photo-peak area for each gamma line was corrected for the dependence of the photo-peak absolute efficiency on the energy.

The identification of these gamma lines proved the presence of nine radioactive isotopes.  Eight of these radio-nuclides 214Bi, 214Pb, 226Ra, 234Th, 208Tl, 212Pb, 212Bi and 228Ac, belong to the two well-known naturally occurring radioactive series, (Uranium and Thorium series) while the ninth radio-nuclide is the naturally occurring 40K.
Table 1. The gamma ray energies,  their parent isotope; intensities and the absorbed doses in the observed background spectra  in King Saud University building
	Energy (keV)


	Parent isotope
	Present work
	Garawi (2000)



	
	
	Intensity (photons/s)
	Abs. Dose

(pGy/d)
	Intensity (photons/s)
	Abs. dose (pGy/d)

	186.2
	226Ra
	0.02245
	10.0
	0.087
	32

	209.6
	228Ac
	-
	-
	0.020
	10

	238.6
	212Pb
	0.0227
	93.9
	0.380
	157

	241.9
	214Pb
	0.096
	54.18
	0.100
	56

	270.2
	228Ac
	0.01
	12.39
	0.010
	12

	277.4
	208TI
	0.009
	6.21
	0.009
	5

	295.2
	214Pb
	0.142
	96.7
	0.320
	221

	300.1
	212Pb
	0.062
	83.35
	0.06
	41

	328.3
	228Ac
	0.013
	10.75
	0.026
	22

	338.7
	228Ac
	0.097
	55.9
	0.084
	72

	352.3
	214Pb
	0.43
	385.9
	0.64
	573

	463.3
	228Ac
	0.031
	36.5
	0.028
	33

	511.0
	208
[image: image13.wmf]Tan

+

l


	0.18
	270.0
	0.210
	315

	583.1
	208
[image: image14.wmf]T

l


	0.30
	44.4
	0.250
	370

	609.3
	214Bi
	0.82
	395.1
	1.00
	1702

	662.6
	214Bi
	0.92
	155.4
	0.110
	185

	665.5
	214Bi
	0.009
	15.55
	0.060
	101

	702.7
	214Bi
	0.009
	77.6
	0.024
	233

	727.3
	212Bi
	0.095
	83.6
	0.050
	92

	768.3
	214Bi
	0.095
	177.9
	0.150
	281

	786.1
	214Pb
	-
	-
	0.037
	71

	795.0
	228Ac
	-
	-
	0.048
	86

	806.0
	214Bi
	-
	-
	0.030
	59

	835.6
	228Ac
	0.008
	90.9
	0.015
	29

	840.4
	228Ac
	0.013
	36.8
	0.030
	59

	860.4
	208T1
	0.035
	71.9
	0.052
	105

	911.2
	228Ac
	0.34
	734.1
	0.350
	747

	934.0
	214Bi
	0.07
	162.4
	0.130
	285

	948.0
	228Ac
	0.005
	12.2
	0.089
	24

	967.0
	228Ac
	0.098
	131.0
	0.058
	131

	1000.0
	228Ac
	-
	-
	0.040
	115

	1052.0
	214Bi
	-
	-
	0.003
	8

	1120.3
	214Bi
	0.621
	163.1
	0.910
	239

	1155.2
	214Bi
	0.066
	180.3
	0.130
	352

	1207.7
	214Bi
	-
	-
	0.033
	95

	1238.1
	214Bi
	0.43
	129.3
	0.44
	1277

	1280.9
	214Bi
	0.075
	225
	0.100
	300

	1377.7
	214Bi
	0.29
	987
	0.29
	987

	1385.3
	214Bi
	0.012
	32.5
	0.060
	195

	1401.5
	214Bi
	0.1
	299.1
	0.110
	329

	1408.0
	214Bi
	0.154
	505.6
	0.180
	591

	1461.2
	40K
	6.6
	20775
	6.650
	20905

	1496.2
	228Ac
	-
	-
	0.018
	8

	1509.2
	214Bi
	0.027
	103
	0.150
	560

	1580.8
	228Ac
	-
	-
	0.060
	236

	1588.3
	228Ac
	0.021
	77.0
	0.074
	267

	1592.0
	212Bi
	0.08
	270
	0.078
	252

	Table 1. Contd.

	Energy (keV)


	Parent isotope
	Present work
	Garawi (2000)



	
	
	Intensity (photons/s)
	Abs. dose

(pGy/d)
	Intensity (photons/s)
	Abs. dose (pGy/d)

	1620.0
	212Bi
	0.08
	280.3
	0.098
	341

	1630.7
	228Ac
	0.082
	290.1
	0.030
	105

	16661.2
	214Bi
	0.058
	207
	0.058
	207

	1729.6
	214Bi
	0.22
	217
	0.220
	817

	1764.5
	214Bi
	0.295
	1120.7
	0.820
	3109

	1838.8
	214Bi
	-
	-
	0.025
	98

	1847.4
	214Bi
	0.176
	699.2
	0.160
	635

	1873.2
	214Bi
	-
	-
	0.023
	85

	2103.4
	208T1
	0.22
	904
	0.110
	452

	2119.5
	214Bi
	0.066
	275.2
	0.085
	351

	2204.2
	214Bi
	0.37
	1593
	0.370
	1593

	2292.2
	214Bi
	-
	-
	0.023
	104

	2447.8
	214Bi
	0.11
	534
	0.114
	548

	2614.5
	208
[image: image15.wmf]T

l


	1.48
	7678.7
	0.830
	4239



The absorbed dose rate for each gamma line at 1.5 m above the floor was calculated using the equation [13].


[image: image16.wmf](

)

jE

σρ

Doserate=mrads

62500MeVg.mrad


       (3)

Where: 
[image: image17.wmf]j

, E, 
[image: image18.wmf]s

, 
[image: image19.wmf]r

  are the flux density (photons/sec. Cm2):  energy of the gamma photon in MeV; energy absorption coefficient and density of the media respectively.  The total surface area of the detector was considered in calculating the flux density for each gamma transition.

Considering the density of tissue to be approximately that of water and using the data of the absolute counts, the surface area of the detector and the energy absorption coefficient curve [14, p.8-204] of the doses were calculated and the obtained results are shown in Table 1. 

The sums of the dose rate in units of nGy/d of the detected gamma lines belonging to elements of each of the three naturally occurring series as well as that for 40K  obtained in this work, together with the results of Garawi (2000) [8]; Al-Houty et al. (1987) [3] and El-Kameesy and Sallam (1999) [7] are summarized in Table 2.

The present measured dose rates are less than the world average.  A typical range of variability for previously measured absorbed dose rates in air is from 10 to 200 nGy/h [9].  Al-Arfaj et al. [15] found that the average calculated dose rate in Riyadh region at 1m above soil surface from terrestrial gamma radiations is 28.1 nGy/h while the measured average value is 43.38 nGy/h.

The low detected dose rate of the present work could be attributed to the measurements at 1.5 m rather than 1m above sandy ground covered with asphalt.  In addition to that the energy range 0-185 keV was not taken in our consideration. 

It is clear from Table 2 that, uranium and thorium series contribution to background radiation in the present work is comparable with the corresponding results obtained by Al-Houty et al. (1987) [3], El-Kameesy and Sallam (1999) [7].

Table 2. The dose rates of the present work compared with other’s data

	Series
	Dose rates (nGy/d)



	
	Present work* KSA
	Garawi** [8] 

KSA
	Al-Houty* [3]

Qatar
	El-Kameesy*[7] Egypt

	U-series
	10.848
	16.55
	11.0
	12.0

	Th-series
	11.0
	8.07
	7.0
	7.90

	40K
	20.775
	20.91
	14
	13.46

	Total
	42.623
	45.53
	32.
	33.56


*    Outside the building

**   Inside the building

The same high contribution of the 1461 keV gamma line attributed to 40K inside and outside King Saud University buildings was observed.  Furthermore, the total dose rate inside and outside these buildings indicates that the contribution of wall constituents (bricks and concrete) to background radiation is minor.  The external walls are built of concrete with large windows while the internal of these buildings are partitioned with plastic and steel sheets. The additional small contribution to the total dose inside the building may be attributed to the minimum use of concrete in these buildings. 

Conclusion
Our measurement and analysis of gamma background radiation using 156.6 cc hyper pure Ge-detector led to a conclusion that the dose rates obtained are mainly due to the detected gamma lines of U-series, Th-series and 40K.  The dose rate of the Ac-series, is negligible in all measurements.

The contribution of 40K (1461 keV gamma line) is high compared with the corresponding results in neighboring countries [3,6].  Furthermore, this study showed that there is a small contribution to the total dose may be attributed to the minimum use of concrete in these buildings.  In addition to the environmental value of this study, the results obtained are essential for any future radiation dose measurement. 

Acknowledgment.  Thanks are due to members of the nuclear physics group, Physics Department, King Saud University, and in particular Eng. A. Shalby; A. Rizk; Eng. N. Nimr and A. Yousif for their help.

References

[1]
Schotzig, U. and Debertin, K. “Photon Emission Probabilities per Decay of 226Ra and 232Th in Equilibrium with Their Daughter Products”.  Int. J. Appl. Radiat. Isot., 34 (1983), 533-538.

[2]
Bruzzi, L., Mele, R. and Padoani, F. “Evaluation of Gamma and Alpha Doses Due to Natural Radioactivity of Building Materials”.  J. Radiol. Prot., 12 (1992), 267-276.

[3]
Al-Houty, L., Abou-Leila, H. and El-Kameesy, S.U. “Nature of Gamma Rays Background Radiation in New and Old Buildings of Qatar University”.  Envir. Int., 13 (1987), 393-398.

[4]
Chamberlain, A.C. Radioactive Aerosols. Cambridge University Press, 1991.

[5]
Maiello, M.L. “The Variation in Long Term TLD Measurements of Environmental Background Radiation at Locations in Southeastern New York State and Northern New Jersey”.  Health Phys. United States, 72, No.6 (1997), 915-923.

[6]
El-Kameesy, S.U., Abdel-Wahab, M.S. and El-Faramawy, N. “Nature of Gamma Background Radiation and Dose-Rate in Ain Shams University”.  App. Radiat. Isot., 43, No.10 (1992), 1279-1283.

[7]
El-Kameesy, S.U. and Sallam, M.M. “The Effect of Intrinsic and Geometric Properties of H.P. Ge Detectors on Background Radiation Measurements”.  Arab. J. Nucl. Sci. App., 32 (1999), 237-248.

[8]
Garawi, M.S. “Gamma Background Radiation in King Saud University Building”.  Egyp. J. Biophy., 7, No.2 (2000), 35-42.

[9]
UNSCEAR 2001 Report. Hereditary Effects of Radiation. New York: UN, 2001.

[10]
UNSCEAR. “Sources and Effects of Ionizing Radiation.” New York: UN, 1993.

[11]
Schotzig, U., Debertin, K. and Waltz, K.F. “Efficiency Calibration of Germanium Spectrometers in the Energy Range from 122-412 keV.” Nucl. Inst. Methods, 169 (1980), 43-51.

[12]
Grant, P.M. “Dependence of Ge(Li) Efficiency Slope on Source-to-detector Distance”.  169 (1982), 371-375.

[13]
Cember, H. Introduction to Health Physics. 2nd ed., New York: Pergamon Press., 1983.

[14]
Dwight, E. Gray (Ed.). American Institute of Physics Handbook. 3rd ed., New York: McGraw-Hill, 1972.

[15]
Al-Arfaj, A.M., Al-Daihan, S.A., Al-Marshad, A.I., Al-Yamani, A.Y., Al-Zahrany, A.A., Bagazi, A.O., Farouk, M.A. and Shabana, E.I. “Measurements of Natural and Man-made Radioactivities in the Soil in Riyadh Region.” Proc. Asia Cong. Radia. Protec., Beijing, China, (1993), 212-215.

الجرعات الإشعاعية البيئية في حرم جامعة الملك سعود

محمد العائد ، محمد القرعاوي ،  سفر الغامدي ،  أحمد السريع و سمير الخميسي

قسم الفيزياء ، كلية العلوم ، جامعة الملك سعود، ص.ب 2455- 

الرياض 11451، المملكة العربية السعودية

(قدم للنشر في 25/1/1423هـس؛ وقبل للنشر في 8/8/1424هـ)

 ملخص البحث . أجريت القياسات و التحليل لطيف أشعة جاما الناتجة عن الخلفية الإشعاعية خارج مباني جامعة الملك سعود عند مدى من الطاقة يتراوح بين 185 كيلو إلكترون فولت إلى 3 مليون إلكترون فولت و ذلك باستخدام كاشف جرمانيوم فائق النقاوة يبلغ حجمه الفعال 156.6 سم3و قد تم تصويب النتائج  بالأخذ في الاعتبار اعتماد كفائة الكاشف على طاقات الأشعة الجامية.  و تم أيضا قياس الجرعة الإشعاعية لكل خط من خطوط أشعة جاما و كذلك الجرعة الممتصة الكلية.  كما تمت مقارنة النتائج الحالية و بعض الأعمال السابقة المشابهة في بلدان مختلفة.

�


            1020                                             1360                                               1700                                        2040


Channel number





Fig. 1 (a,b,c). Gamma ray background spectrum observed outside King Saud University buildings by large (156.6 cc) hyper pure Ge-detector.





71








_1078410024.unknown

_1150478938.unknown

_1150489480.unknown

_1157917814.unknown

_1150489493.unknown

_1150480295.unknown

_1150488652.unknown

_1150479077.unknown

_1078410195.unknown

_1078410231.unknown

_1078410451.unknown

_1078410142.unknown

_1077718194.unknown

_1077718453.unknown

_1077848850.unknown

_1078410000.unknown

_1077848834.unknown

_1077718348.unknown

_1077708749.unknown

