J. King Saud Univ., Vol. 17, Science (1), pp. 31-40, Riyadh (1425H./2004)

40
Khalid H. Al-Assaf, et al.
11

Monitoring of Some Trace Pollutants in wastewater of Riyadh Second industrial City by ICP-MS
Khalid H. Al-Assafa, Ahmed A. Al-Gadib, 

Mohammad A. Abdallab and Hassan M. Al-Swaidanb 

aChemical Research Department, SABIC Industrial Complex for Research and Technology, 

P.O. Box 42503, Riyadh 11565, Saudi Arabia

bDepartment of Chemistry, Faculty of Science, 

P.O. Box 2455, King Saud University, Riyadh, Saudi Arabia
(Received 10/9/1422H.; accepted for publication 3/3/1424H.)

Abstract. The concentration levels of Pb, As, Cd, Se, and Cr in wastewater of Riyadh second industrial city environment were monitored using ICP-MS. Samples were collected from five different reservoirs three times a day for a period of four weeks during the summer season. Precision and accuracy study for the analysis of industrial wastewater were obtained by spiking the samples with the elements of interest and percentage recoveries for those elements were calculated. Results were obtained using external standard calibration with the addition of Yttrium (Y) as internal standard. The percentage recovery for all elements are ranging between 93% to 102% and the relative standard deviation for almost all elements in the samples were ranging between 0 to 12%. Results were calculated and compared with the maximum allowable concentrations ruled by the Royal Commission of Jubail and Yanbo (RCJY) at Saudi Arabia.

Keywords: Wastewater, trace elements, pollutants, ICP-MS
Introduction

Riyadh’s second industrial city is one of the biggest industrial cities in the Kingdom of Saudi Arabia. It is located on an area of 16 million square meters at the southeast of Riyadh metropolitan, about 18 kilometers from the city center. There are more than 500 factories producing food, textiles, furniture, paper printing, chemical products, plastic molding, steel, metals, buses, car frames, electrical systems, etc. The industrial city has been designed to fulfil the requirements of the industrial services such as water supply system, storm water drainage, wastewater treatment plant and wastewater collection system [1, p. 17]. 

The determinations of toxic elements such as cadmium, lead, arsenic, selenium and 

chromium in wastewater is necessary due to their serious threat to human health and environment [2, p. 19]. Cadmium is considered as a toxic element, the source of cadmium in wastewater may be from metallurgical alloying, textile printing and plastic stabilizers or pigment industries [3, p. 9]. Lead level in blood is a toxicological parameter, when the level reaches 100-120 µg/dl it will cause irreversible brain damage [2, p. 19]. Lead is widely used in industry as a raw material for storage batteries, matches, pigments, photographic material, leaded glass and many other uses, that can contaminate the wastewater [4]. Arsenic has a poisonous effect in human at 100 mg levels or more, and considered lethal at 130 mg levels [2, p. 25]. The toxicity of arsenic varies widely, depending on the compound, lethal doses for some arsenic compounds are 1.5, 5, 50 and 500 (mg/kg) for arsenite, arsenate, monomethylarsonate and dimethylarsinate respectively [4]. Many poisoning accidents were reported due to arsenic contamination of food (18,500 people were infected and more than 200 fatalities in England and Japan) [5-7]. Wastewater can be contaminated by arsenic from the contribution of waste from metallurgical industry or wood and metal furniture industry [3, p. 30]. Selenium is toxic at high levels; while it is essential to the human body at some levels (animal studies have confirmed its effectiveness in prevention of certain endemic disease) [2, 32]. Wastewater stream of paint factories, paper manufacturing, pigments and dye formulating industries could contain Selenium [8, p. 4]. Trivalent chromium may be nutritionally essential with a safe and relative innocuous level of 0.20 mg/day [2, p. 40]. Hexavalent chromium has an adverse effect on the liver, kidney, and respiratory organs with symptoms such as bleeding effects, dermatitis, and ulceration of the skin for chronic and sub-chronic exposure [2, p. 77]. A toxic dose for a man was reported at about 0.5g of potassium dichromate (K2Cr2O7) [2, p. 79]. Chromium can be present in industrial waste stream due to chromium compounds used in industrial cooling water as corrosion inhibitors and also present in the waste stream of ink, paint pigments, as well as in metal-plating industries where chromic acid rinse water is used [3, p. 80]. A number of studies have been done to measure toxic elements concentration in either natural water [8-10], river water [11,12] or wastewater [12-14].

Experimental

Instrumentation

The inductively coupled plasma mass spectrometer model ELAN 6000 from PE SCIEX was used. A Pentium 133 MHz Digital computer was used to control the instrument control and data acquisition, manipulation and storage. Results were printed using a HP LaserJet printer. A peristaltic pump was used for sample introduction and an auto sampler model AS 90 from Perkin Elmer was used for auto samples transport. Samples were nebulized using PE cross flow nebulizer. The operating conditions for the ICP-MS were set as listed in Table 1. A Fisher Scientific centrifuge apparatus was used for sample centrifuging.

Table 1. Operating conditions of ELAN 6000 ICP-MS  

	Nebulizer Gas Flow
	0.8 L/min
	Sweeps/Readings
	10

	Lens Voltage
	9.0 V
	Integrated Time
	2000 ms

	Analog Stage Voltage
	1000 V
	Interface pressure
	1-2 torr

	Puls Stage Voltage
	-2100 V
	Mass spec. pressure
	1.06(10-5

	Discriminator Threshold
	70
	Nebulizer
	Cross flow

	AC Rod Offset
	-5
	Sampler
	nickel

	Number of Replicates
	3
	Skimmer
	nickel

	Readings/Replicates
	2
	Dwell Time
	100 ms

	Scan Mode
	Peak Hopping
	
	


Reagents
Nitric Acid, Aristar grade 69-71 % from BDH Laboratory supplies, England was used for liquid sample preservation. Nitric Acid, Certified A.C.S plus grade from Fisher was used for glassware and plastic bottles cleaning. Certified standard (Claritas ppt) from SPEX certiprep, Inc., NJ, USA lot No. 13-01AS containing 10 mg/L in 5% (v/v) HNO3 was used for standard preparation containing the following elements: As, Cd, Cr, Pb, Se. 10 mg/L in 2% (v/v) HNO3. Yttrium single element Certified standard, from (Claritas ppt), SPEX certiprep, Inc., NJ, USA, lot No. 9-92AS, was used as an internal standard. Four standards S1, S2, S3 and S4 contain 5, 50, 75 and 100 (g/L, respectively were prepared using the dilution procedure from the stock solution. For recovery, reproducibility, accuracy and precision studies, one wastewater sample was taken and spiked with 20 (g/L of As, Pb, Cd, Se and Cr standard. The same sample was prepared and analyzed without any standard spiking. This step was repeated ten times to get a representative data. The average concentration, standard deviation, relative standard deviation and recovery were calculated and tabulated. Deionized water obtained from compact Milli-Q UV plus system, Millipore, USA, with an indicated outlet conductivity of 18 M/ohm was used. 

Samples

Four batches (B1-B4) wastewater samples were collected every week for one month on different days, first week on Saturday, second week on Monday, third week on Wednesday and fourth week on Friday, from five reservoirs (R1-R5) located in different areas. Each batch was collected at different time periods of a day, first sampling time at 09:00 o’clock, second sampling time at 16:00 o’clock and third sampling time at 23:00 o’clock. Samples were collected using polyethylene bottles. For cleaning, bottles were soaked in 20% (v/v) nitric acid for at least 24 hours then rinsed with deionized water for three times prior to use, moreover, bottles were rinsed several times with the sample prior the sampling process.

Procedure 

Samples were transferred immediately after the collection to the laboratory, centrifuged at speed of 6000 RPM for 10 minutes, filtered using vacuum, buchner funnel and Whatmann filters paper No. 542. Furthermore, samples were filtered through a 0.45 (m cellulose acetate membrane prior to the addition of preserving acid (69% (v/v) HNO3 5ml/1L). Samples were then stored in a 50-ml polypropylene in a refrigerator at 4(C prior to analysis (according to the standard method for the examination of water and wastewater) [15]. A blank was treated same as the sample.

Calibration 

Mass calibration and resolution checks were conducted for the ICP-MS using a tuning solution contain 20 (m/L of Mg, Pb, Rh, Ce and Ba obtained from Perkin Elemer, USA. The Instrument was calibrated using blank (deionized water) and four standards S1, S2, S3 and S4 containing 5, 50, 75 and 100 (g/L respectively. Table 2 illustrates the isotopes used in this method, mass interferences and elemental equations for data calculations.

Table 2. Elements isotope and elemental equation for interference correction

	Element
	Mass
	Interferences
	Elemental equation
	Note

	As
	75
	ArCl
	mass75-(3.127)[(mass77)–(0.815)(mass82)]
	(1)

	Se
	82
	Kr
	mass82 – 1.0082 x mass 83
	(2)

	Pb
	207
	
	mass 207
	

	Cd
	111
	MoO
	mass111–(1.073)[(mass108)-(0.712)(mass106)]
	(3)

	Cr
	52
	
	mass 52
	


Note:

(1) Correction for chloride interference with adjustment for Se77.

(2) Correction for Kr82 interference.

(3) Correction for MoO interference.

Results and Discussion

The calibration curves of all elements obtained by the instrument using five points 0, 5, 50, 75 and 100 (g/L shows an excellent linearity for all elements. Correlation coefficient values for all elements were within 0.9987 to 0.9999 range. Table 3 illustrates the percentage recovery, standard deviation and relative standard deviation. It is observed that the relative standard deviation for almost all elements in the samples is ranging between 0 to 12%. This is strong evidence that this method is precise and reproducible. Furthermore, the percentage recovery for all elements are ranging between 93% to 102% which is an indication that this method is accurate (accepted limits for known addition to water and wastewater (%recovery) for metals is ranging between 80 to 120% [15, p. 80]).

Table 3. Statistical data for all elements

	Elements
	Sample ((g/L)
	
	Sample + 20 (g/L Spike
	%Recovery

	
	AVGa
	SDb
	RSDc
	
	AVGa
	SDb
	RSDc
	

	Cr
	1.35
	0.15
	11.1%
	
	21.47
	0.44
	2.1%
	100.6%

	As
	1.68
	0.16
	9.8%
	
	20.67
	0.44
	2.1%
	94.9%

	Cd
	0.00
	0.00
	0.0%
	
	18.74
	0.27
	1.4%
	93.7%

	Pb
	6.14
	0.60
	9.8%
	
	26.47
	0.93
	3.5%
	101.6%

	Se
	6.09
	0.57
	9.3%
	
	24.90
	0.60
	2.4%
	94.1%


aTen replicates.

bStandard deviation

cRelative standard deviation

Table 4 illustrates the concentration levels of arsenic which is ranging between 2 to 30 (g/L except for (B4- R2-1) which is higher (around 40 (g/L) due to many glass factories. Table 5 illustrates the chromium concentration levels in the wastewater were below 500 (g/L except for four cases where the level of chromium exceeded 2000 (g/L at the morning period of the first week (B1-R1-1) then at the same day during the afternoon period, the level was down to less than 1500 (g/L then back to normal level [< 500 (g/L] during the night period. The same behavior was observed in (B4-R5-2) and (B4-R5-3). These high concentration levels may be due to high number of metal manufacturing factories located in that area. Lead concentration levels in wastewater are below 100 (g/L and generally close to zero (Table 6). However, high levels were observed (over 300 (g/L) in the third week at reservoir four in the morning period (B3-R4-1) then went down in the afternoon and night periods due to the continuous wastewater flow passing from this reservoir to the wastewater treatment plant. The same behavior was observed at the second reservoir during the third week (B3-R2). The same situation was observed in case of cadmium in the third week and during the morning period in the first reservoir (B3-R1-1), a high amount of cadmium, over 25 (g/L, was detected then the level went down during the afternoon and night periods. But the average concentration levels in the wastewater were generally less than 5 (g/L as illustrated in Table 7. Lead and cadmium contamination could be from battery industries, metallurgical manufacturing or from photographic materials manufacturing located in that area. Selenium results, as illustrated in Table 8 were not reproducible and the standard deviations were in most cases slightly high indicating poor sensitivity and stability. However the average concentration levels of selenium in wastewater were below 8 (g/L, except for reservoir 4 (R4) the level was near 15 (g/L. Selenium is an important element in paper and pulp processes as well as in glass manufacturing.

 Table 4. Distribution of arsenic concentration in wastewater at different reservoirs 

	
	aMean conc. ( bS.D.  ((g/L)

	Period
	R1
	R2
	R3
	R4
	R5

	cB1-1d
	< 0.09
	12.0 ( 1
	10.7 ( 0.8
	18.9 ( 0.3
	5.7 ( 0.1

	B1-2d
	2.3 ( 0.2
	16.4 ( 0.6
	7.7 ( 0.2
	28.9 ( 0.3
	14.9 ( 1.1

	B1-3d
	2.0 ( 0.3
	9.6 ( 1
	8.9 ( 0.2
	20.4 ( 0.2
	19.5 ( 0.6

	cB2-1
	2.2 ( 0.01
	11.7 ( 0.3
	10.1 ( 0.4
	20.1 ( 0.5
	20.2 ( 0.7

	B2-2
	5.0 ( 0.1
	12.0 ( 0.3
	10.2 ( 0.3
	16.9 ( 0.7
	17.9 ( 0.4

	B2-3
	5.2 ( 0.1
	10.7 ( 0.7
	11.4 ( 0.2
	15.8 ( 0.6
	17.5 ( 0.3

	cB3-1
	2.2 ( 0.1
	9.3 ( 0.2
	11.1 ( 0.2
	15.2 ( 0.5
	17.9 ( 1

	B3-2
	4.3 ( 0.1
	9.6 ( 0.3
	11.2 ( 0.2
	13.2 ( 0.8
	14.3 ( 0.3

	B3-3
	5.8 ( 0.2
	8.9 ( 0.6
	10.9 ( 0.5
	13.7 ( 0.3
	16.8 ( 0.4

	cB4-1
	7.3 ( 0.4
	38.9 ( 1.9
	10.4 ( 0.1
	15.7 ( 0.4
	11.8 ( 0.4

	B4-2
	8.5 ( 0.2
	17.0 ( 0.2
	11.0 ( 0.3
	13.4 ( 0.9
	31.3 ( 0.6

	B4-3
	9.5 ( 0.1
	11.1 ( 0.5
	11.1 ( 0.4
	13.5 ( 0.5
	29.3 ( 0.7


aThree replicates

 bStandard deviation

cB1 first week on Sat., B2 2nd week on Mon., B3 3rd week on Wed, B4 4th week on Fri.

d(1) at 9:00 o’clock, (2) at 16:00 o’clock, (3) at 23:00 o’clock. 

Table 5. Distribution of chromium concentration in wastewater at different reservoirs

	
	aMean conc. ( bS.D.  ((g/L)

	Period
	R1
	R2
	R3
	R4
	R5

	cB1-1d
	2.7 ( 0.3
	6.3 ( 0.2
	3.9 ( 0.3
	341 ( 6
	37.9 ( 0.7

	B1-2d
	1929 ( 20
	17.2 ( 0.2
	14.1 ( 0.8
	260 ( 4
	341 ( 4

	B1-3d
	1275 ( 21
	64.1 ( 1.1
	23.4 ( 0.6
	379 ( 8
	403 ( 3

	cB2-1
	11.4 ( 0.3
	29.3 ( 0.1
	25.4 ( 0.8
	124 ( 1.1
	130 ( 0.9

	B2-2
	15.4 ( 0.3
	51.1 ( 0.6
	46.5 ( 0.4
	96.5 ( 2.2
	101 ( 0.9

	B2-3
	57.4 ( 0.2
	59.1 ( 0.5
	131 ( 1.9
	92.8  ( 1.6
	141 ( 0.8

	cB3-1
	634 ( 7
	36.6 ( 0.3
	11.1 ( 0.2
	153 ( 1.3
	362 ( 1.6

	B3-2
	419 ( 0.7
	57.6 ( 1.7
	22.4 ( 0.3
	103 ( 1.6
	138 ( 1

	B3-3
	343 ( 0.5
	76.9 ( 0.7
	27.6 ( 0.2
	138 ( 1.4
	272 ( 6

	cB4-1
	9.2 ( 0.2
	203 ( 1.4
	21.3 ( 0.1
	152 ( 1.3
	13.6 ( 0.2

	B4-2
	9.2 ( 0.2
	10.3 ( 0.2
	22.2 ( 0.2
	94.6 ( 1
	1249 ( 7

	B4-3
	9.6 ( 0.3
	8.8 ( 0.2
	18.2 ( 0.2
	131 ( 1
	883 ( 3


aThree replicates

 bStandard deviation

cB1 first week on Sat., B2 2nd week on Mon., B3 3rd week on Wed, B4 4th week on Fri.

d(1) at 9:00 o’clock, (2) at 16:00 o’clock, (3) at 23:00 o’clock.
Table 6. Distribution of lead concentration in wastewater at different reservoirs 

	
	aMean conc. ( bS.D.  ((g/L)

	Period
	R1
	R2
	R3
	R4
	R5

	cB1-1d
	< 0.4
	4.9 ( 0.3
	< 0.4
	< 0.4
	< 0.4

	B1-2d
	12.8 ( 0.2
	9.3 ( 0.1
	< 0.4
	6.1 ( 0.1
	< 0.4

	B1-3d
	4.7 ( 0.4
	81.2 ( 1.1
	7.2 ( 0.2
	15.0 ( 0.1
	< 0.4

	cB2-1
	< 0.4
	104 ( 1
	71.2 ( 1.6
	350 ( 5
	< 0.4

	B2-2
	< 0.4
	16.9 ( 0.1
	13.9 ( 0.2
	157 ( 3.3
	< 0.4

	B2-3
	< 0.4
	37.8 ( 0.7
	10.5 ( 0.3
	98.5 ( 1.4
	0.6 ( 0.1

	cB3-1
	< 0.4
	273 ( 4
	15.3 ( 0.1
	1.0 ( 0.1
	< 0.4

	B3-2
	< 0.4
	257 ( 3
	19.3 ( 0.2
	0.1 ( 0.02
	< 0.4

	B3-3
	1.4 ( 0.1
	225 ( 3.2
	15.8 ( 0.2
	4.8 ( 0.2
	< 0.4

	cB4-1
	< 0.4
	< 0.4
	32.4 ( 0.5
	< 0.4
	30.7 ( 0.3

	B4-2
	< 0.4
	1.9 ( 0.1
	12.5 ( 0.7
	< 0.4
	< 0.4

	B4-3
	< 0.4
	< 0.4
	16.3 ( 0.3
	< 0.4
	< 0.4


aThree replicates

 bStandard deviation

cB1 first week on Sat., B2 2nd week on Mon., B3 3rd week on Wed, B4 4th week on Fri.

d(1) at 9:00 o’clock, (2) at 16:00 o’clock, (3) at 23:00 o’clock.
Table 7. Distribution of cadmium concentration in wastewater at different reservoirs 

	
	aMean conc. ( bS.D.  ((g/L)

	Period
	R1
	R2
	R3
	R4
	R5

	cB1-1c
	0.8 ( 0.1
	0.5 ( 0.02
	< 0.03
	< 0.03
	< 0.03

	B1-2c
	5.7 ( 0.1
	< 0.03
	< 0.03
	< 0.03
	< 0.03

	B1-3c
	< 0.03
	< 0.03
	< 0.03
	< 0.03
	< 0.03

	cB2-1
	1.8 ( 0.01
	8.2 ( 0.1
	1.4 ( 0.1
	< 0.03
	< 0.03

	B2-2
	< 0.03
	1.8 ( 0.1
	0.2 ( 0.01
	0.1 ( 0.06
	< 0.03

	B2-3
	0.8 ( 0.1
	4.3 ( 0.03
	< 0.03
	0.1 ( 0.02
	0.1 ( 0.03

	cB3-1
	28.3 ( 0.5
	< 0.03
	< 0.03
	< 0.03
	< 0.03

	B3-2
	16.0 ( 0.3
	< 0.03
	< 0.03
	< 0.03
	< 0.03

	B3-3
	9.9 ( 0.2
	< 0.03
	< 0.03
	< 0.03
	< 0.03

	cB4-1
	2.7 ( 0.02
	1.2 ( 0.01
	< 0.03
	< 0.03
	< 0.03

	B4-2
	1.3 ( 0.02
	1.3 ( 0.03
	< 0.03
	< 0.03
	< 0.03

	B4-3
	1.8 ( 0.01
	< 0.03
	< 0.03
	< 0.03
	< 0.03


aThree replicates

 bStandard deviation

cB1 first week on Sat., B2 2nd week on Mon., B3 3rd week on Wed, B4 4th week on Fri.

d(1) at 9:00 o’clock, (2) at 16:00 o’clock, (3) at 23:00 o’clock.
Table 8. Distribution of selenium concentration in wastewater at different reservoirs 

	
	aMean conc. ( bS.D.  ((g/L)

	Period
	R1
	R2
	R3
	R4
	R5

	cB1-1d
	< 0.5
	2.9 ( 0.4
	1.0 ( 0.2
	12.6 ( 0.7
	0.6 ( 0.1

	B1-2d
	0.7 ( 0.2
	4.2 ( 1.6
	< 0.5
	12.5 ( 2.9
	2.6 ( 1.6

	B1-3d
	< 0.5
	1.7 ( 0.7
	< 0.5
	11.1 ( 0.6
	< 0.5

	cB2-1
	< 0.5
	5.1 ( 0.8
	4.8 ( 0.3
	11.6 ( 1.2
	5.2 ( 1.2

	B2-2
	2.9 ( 1.1
	4.4 ( 1.2
	4.8 ( 1.1
	10.6 ( 1.2
	6.3 ( 0.6

	B2-3
	1.5 ( 0.6
	6.2 ( 0.6
	5.2 ( 0.9
	9.3 ( 0.4
	7.0 ( 0.9

	cB3-1
	< 0.5
	5.4 ( 1
	8.3 ( 0.9
	16.9 ( 0.5
	1.8 ( 0.5

	B3-2
	2.6 ( 0.6
	5.0 ( 1
	6.1 ( 1.7
	10.9 ( 0.5
	3.1 ( 0.4

	B3-3
	2.1 ( 0.9
	5.6 ( 0.6
	6.4 ( 0.6
	8.2 ( 0.1
	2.3 ( 0.5

	cB4-1
	4.9 ( 1.1
	< 0.5
	1.7 ( 1.1
	4.7 ( 0.9
	4.8 ( 1.2

	B4-2
	6.0 ( 1.3
	7.7 ( 1.1
	3.9 ( 1.3
	6.4 ( 0.9
	< 0.5

	B4-3
	6.9 ( 0.7
	3.7 ( 1.1
	2.6 ( 1.9
	5.8 ( 0.9
	< 0.5


aThree replicates

 bStandard deviation

cB1 first week on Sat., B2 2nd week on Mon., B3 3rd week on Wed, B4 4th week on Fri.

d(1) at 9:00 o’clock, (2) at 16:00 o’clock, (3) at 23:00 o’clock.

Conclusion and Recommendations

The internal standard (yttrium) addition method using ICP-MS instrument proved to be precise and reproducible for the determination of elements in wastewater. Furthermore, ICP-MS with its multi-element analysis capabilities and lower detection limits is time saving and ideal for monitoring the concentration levels of trace elements in wastewater. Moreover the concentration levels of elements of interest that have been monitored were conforming to the Royal Commission of Jubail and Yanbo (RCJY) in Saudi Arabia for the concentration levels of trace elements at the point of discharge of industrial wastewater and before the treatment. The maximum concentration levels found in the wastewater of As, Cr, Pb, Cd and Se are 40, 2000, 400, 30 and 20 (g/L respectively and those levels considered to be less than the harmful levels as they were below the maximum allowable limits ruled by the Royal Commission of Jubail and Yanbo (RCJY) as listed in Table 9 [16, p. 119].

Table 9. The maximum allowable limits of the elements concentration in the wastewater ruled by the Royal Commission of Jubail and Yanbo (RCJY)
	Elements
	As
	Cr
	Pb
	Cd
	Se

	Concentration limits ((g/L)
	1250
	5000
	500
	500
	500


 Acknowledgment. This work was done in SABIC industrial complex for Research and Technology laboratories. The authors thank Mr. Kamal Ismail and Dr. Alfer D. Clague for their comments and the wastewater treatment plant operators for their help in collecting the samples.

References

[1] The Sectorial Directorate General, Riyadh Factories Directory, Riyadh Chamber of Commerce & industry, Seventh ed., 1998.

[2] Dezuane, J. “Drinking Water Quality: Standards and Controls” New York: Van Nostrand Reinhold, 1980.

[3] Patterson, J.W. “Industrial Wastewater Treatment Technology” Second ed. Butterworth-Heinemann, USA, 1985.

[4] Vela, N. and Caruso, J. “Potential of Liquid Chromatography Inductively Coupled Plasma Mass Spectrometry for Trace Metals Speciation.” Anal At Spectrom, 8 (1993), 787-794.

[5] Reynolds, E. “An Account of the Epidemic Outbreak of Arsenical Poisoning Occuring in Beer Drinkers in the North of England.” Lancet, 1 (1901), 166-170.

[6] Yamashita, N. and Nishio, D. “Recent Observations of Kyoto Children Poisoned by Arsenic Taibted Morinage Dry Milk” Japanese J Hygiene, 27 (1972), pp. 364-399.

[7] Mizuta, N., Mizuta, M. and Ito, F.  et al. “An Outbreak of Acute Arsenic Poisoning Caused by Arsenic Contaminated Soy Sauce”. Bull. Yamaguchi Med. Sch., 4 (1956), 131.

[8] Ihnat, M., Gordon, A. D., Gaynor, J. D. Berman, S. S., Desaulniers, A., Stoeppler M.  and Valenta, P. “Interlaboratory Analysis of Natural Fresh Waters for Copper, Zinc, Cadmium and Lead.” inter. J. Environ. Anal. Chem., 8  (1980), 259-275.

[9] Ihnat, M.  “Analytical Approach to the Determination of Copper, Zinc, Cadmium and Lead in natural fresh water”. Inter. J. Environ. Anal. Chem., 10 (1981), 217-246.

[10] Manning D. C. and  Slavin, W.  “The Determination of Trace Elements in Natural Water Using the Stabilized Temperature Platform Furnace”. Appl. Spectrosc., 37 (1983), 1-11.

[11] Beauchemin, D., McLaren, J. W., Mykytiuk A. P. and Berman, S. S.  “Determination of Trace Metals in A River Water Reference Material by Inductively Coupled Plasma Mass Spectrometry”. Anal. Chem. 59 (1987), 778-783.

[12] Beauchemin D.  and Berman, S. S. “Determination of Trace Metals in Reference Water Standards by Inductively Coupled Plasma Mass Spectroscopy With On-Line Preconcentration”. Anal. Chem. 61 (1989), 1857-1862.

[13] Kim, J. I.,  Fiedler, I., Born, H. J. and Lux, D. “Identification and Behavior of Trace inorganic Elements in an Urban Sewage Treatment Plant by Monostandard Activation Analysis.” Intern. J. Environ. Anal. Chem., 10 (1981), 135-148. 
[14] Nolte, J. “ICP OES Analysis of Wastewaters and Sludges.” At. Spectrosc., 5, No. 5 (1995), 223-228. 

[15] American Public Health Association. “American Water Works Association and Water Environment Federation, Standard Methods for the Examination of Water and Wastewater”.  Washington, DC, 18th ed., 1992.

[16] Royal Commission of Jubail and Yanbu. “Environmental Guideline, Maximum Concentration Level of Toxic Elements in Wastewater”. 2nd  ed. Jubail Industrial City, Saudi Arabia, 1988. 

مراقبة تراكيز بعض الملوثات في مياه الصرف الصحي بالمدينة  الصناعية الثانية بمنطقة الرياض بطريقة البلازما مزدوجة الحث ومطياف الكتلة
خالد حسين العساّف, أحمد عبد الرحمن القاضي*, محمد أبو الحسن عبد الله* وحسن محمد السويدان*

قسم أبحاث الكيمياء، مجمع سابك للبحث والتطوير، ص . ب  4253 ، الرياض  11565 و* قسم الكيمياء ، كلية العلوم، جامعة الملك سعود ، ص .ب 2455 ، الرياض 11451 ؛ المملكة العربية السعودية
(قدم للنشر في 10/9/1422هـ؛ وقبل للنشر في 3/3/1424هـ)
ملخص البحث.تمت خلال هذه الدراسة مراقبة مستويات تراكيز الرصاص، الزرنيخ، الكادميوم، السلينيوم والكروم في مياه الصرف الصحي في المدينة الصناعية الثانية بمنطقة الرياض بطريقة البلازما مزدوجة الحث ومطياف الكتلة. وتمّ جمع العينات من خمس خزانات مختلفة خلال ثلاث فترات في اليوم ولمدة أربعة أسابيع خلال فصل الصيف. ودرست دقة ومصداقية الطريقة باضافة  كميات معلومة من العناصر المراد تحليلها مع وجود عنصر اليتريوم كعنصر تقييس داخلي، وكذلك تمّ إيجاد نسب الاسترجاع المئوية لكل عنصر . وقد تراوحت قيم نسب الاسترجاع المئوية في كل الحالات من 93%-102% وقيم الانحراف النسبي المئوي من صفر - 12%. كذلك تمت مقارنة النتائج المتحصل عليها مع التراكيز القصوى المسموح بها من قبل الهيئة الملكية للجبيل وينبع في المملكة العربية السعودية.

31









